Vessels Used for Liquid Measurement

The following vessels are used for the measurement of liquids:

Vessel				Capacity	Marked Increments

- Pipet			1 ml		0.01 ml

- “				10 ml		0.1 ml

- Graduated cylinder	10 ml		0.1 ml

- “				10 ml		0.2 ml

- “				25 ml		0.2 ml

- “				25 ml		0.5 ml

- “				100 ml		1.0 ml

- “				250 ml		2.0 ml

- “				500 ml		5.0 ml

- “				4000 ml	50 ml

- Calibrated pitcher		1 gal		500 ml

- Calibrated bucket		2 gal		1 gal

Event		Calibration	Test Substance	Adjuvant	Carrier		Initials/Date